HEALTH  & SAFETY DATA SHEET

- IDENTIFICATION OF THE SUBSTANCE/PREPARATION AND COMPANY

Product name:			SUPERSEAL WATER REPELLENT

Company:			CONSTRUCTION CHEMICALS LTD

Units 1 & 2a, Lazarus Court,

Woodgate, Rothley  LE7 7NR

Tel:				0116 216 5354

- COMPOSITION/INFORMATION OF INGREDIENTS

Hazardous ingredients    EEC Number      Symbols/Risk Phrases	 Approx Conc%w/w

- HAZARDS IDENTIFICATION

Inhalation:	Liquid and vapour is irritant, may cause drowsiness, dizziness and ultimately unconsciousness

Skin:	Liquid is irritating to skin, may cause dermatitis

Eyes:	Vapour irritating to eyes

Ingestion:	Low viscosity product. If after ingestion vomiting occurs, harmful or fatal if aspirated into the lungs

- FIRST AID MEASURES

Inhalation:	Remove to fresh air. If unconscious turn into the recovery position. Get medical help.

Skin:			Wash with soap and water

Eyes:			Flush out with clean water for 10 minutes. Get medical help

Ingestion:	Do not make patient vomit. Place patient in the recovery position. Get medical help

- FIRE FIGHTING MEASURES

Small fires:		Use carbon dioxide, dry chemical, foam, sand, earth or water fog.

Large fires:		Use foam or water fog. Keep containers cool by spraying with water

- ACCIDENTAL RELEASE MEASURES

Any spillage may be absorbed into sand, clay or similarly absorbent material. Disposal should be carried out in accordance with the Special Waste Regulations. If any liquid enters drainage systems inform Authorities, Fire Brigade and Environmental Agency.

- HANDLING AND STORAGE

Handling:		Ensure good ventilation. Pump at no greater than 7 metres per second.

Storage:	Keep in tightly closed, clearly labelled containers. No smoking. Naked flames, hot elements or other ignition sources must not be present

- EXPOSURE CONTROLS/PERSONAL PROTECTION

OES 8 hrs T W A	OEL 8 hrs T W A

MEL			OEL 8 hrs T W A 150

Protection:		Wear impervious gloves and suitable eye protection

- PHYSICAL AND CHEMICAL PROPERTIES

Appearance:			Clear colourless liquid

Odour:				Mild odour

Boiling point:			152-198

Freezing point:			<-20

Flash point (ºC):		38

Auto ignition temp:		230

Explosion limits:			0.9 – 8.0

Solubility in water:		Insoluble

Solubility in organic:		Miscible with many

Evaporation rate:		6.3 (ether-1)

Density kg/l @ 15°C:		0.778

Vapour density gm/l @ 20°C:	 5.5

Viscosity c.ST@20°C:	1.24

Vapour pressure Kpa@20°C:	0.44

- STABILITY AND REACTIVITY

Stable at normal temperatures and pressures. Not reactive at normal temperatures and pressure conditions.

Inhalation:		Not available

Skin contact:		Not available

Eye contact:		Not available

Ingestion:		Not available

- TOXICOLOGICAL INFORMATION

Inhalation		Not available

Skin contact		Not available

Eye contact		Not available

Ingestion		Not available

- ECOLOGICAL INFORMATION

LL50		Fish		Low 1		High 10 mg/L

LL50		Daphnia	Low 1		High 10	mg/L

LL50		Algea		Low 1 		High 10	mg/L

- DISPOSAL RECOMMENDATIONS

This material must be disposed of via an Authorised Waste/Disposal Company in accordance with Local and National Waste Disposal Regulations.

- TRANSPORT INFORMATION

UN No: 1300			EMS: 3.07		IMDG: Class 3.3

Packaging group: 3		MFAG: 311		Marine pollutant: P

CAS No:64742-88-7		Trans.cat: 3		EEC No: 265-191-7

ICA/IATA: 3			Trans class: 3		ADR: 3.3111 ( C)

Trem card: 30 G 35		Kemler code: 30	Emergency action code: 3(Y)

- REGULATORY INFORMATION

R10:		Flammable

R36/37/38:	Irritating to eyes, respiratory system and skin

R51/53:	Toxic to aquatic organisms, may cause long-term adverse affects in the aquatic environment

R65:	Harmful: may cause lung damage if swallowed

S24/25:	Avoid contact with skin and eyes

S26:	In case of contact with eyes, rinse immediately with plenty of water and seek medical advice

S37:	Wear suitable gloves

S43:	In case of fire, use foam or dry powder

S51:	Use only in well ventilated areas

S62:	If swallowed do not induce vomiting: seek medical advice immediately and show this container or label

*Obligatory safety phrases.

Reference should be made to Health and Safety at Work Act and Control of Substances Hazardous

to Health Regs.

- OTHER INFORMATION

An aromatic middle distillate.  BOD 53%. Source of enviro-toxicology data CEFIC.

The information given in this document has been compiled on the basis of best available knowledge in accordance with the requirements of the Chemical Hazard Information and Packaging Regulations 1994 (Am 1997). It does not imply that the information is complete or accurate in all cases. It is the user’s responsibility to satisfy him/herself as to the application of the information and/or the recommendations given for his/her own use.